ELECTRICAL ASSET RISK & FINANCIAL FORECAST

Independent Risk Mitigation and Capital Expenditure (CapEx) Strategy for Residential Property Investors

| Property address | {{PROPERTY_ADDRESS}} |
| --- | --- |
| Prepared for | {{CLIENT_NAME}} |
| Assessment date | {{ASSESSMENT_DATE}} |
| Report reference | {{REPORT_ID}} |
| Prepared by | Better Home Technology Pty Ltd |

100% Independent – No Conflict of Interest

This report is decision support only.

It is not a repair quote and does not include rectification works.

Contents

How to read this report

Executive decision summary

What this means for you

Scope and independence statement

Methodology overview

Observations and evidence

Risk prioritisation framework

Five-year CapEx roadmap (budget plan)

Owner decision pathways

Terms, limitations and legal framework

Appendix (photos and test notes)

Closing Statement

1. How to read this report

This report is designed to help you make electrical decisions with clarity and confidence. It separates (a) what was observed, (b) what it means from a risk perspective, and (c) what to plan for financially.

In practice, most owners should:

Read Section 2–3 first (Executive decision summary + What this means).

Use the 5-year CapEx roadmap to set a realistic budget provision for the next 0–5 years.

Refer to the Evidence section only if you want the underlying observations, photos, and test notes.

2. Executive decision summary

Overall risk position

Overall electrical risk profile: {{OVERALL_RISK_LABEL}}.

{{EXECUTIVE_SUMMARY_PARAGRAPH}}

Priority snapshot

| Priority | Meaning | Investor interpretation |
| --- | --- | --- |
| Urgent liability risk | Immediate action required to reduce safety/legal exposure. | Do not defer. Treat as time-critical risk control. |
| Budgetary provision recommended | No active fault detected, but upgrade is advisable within an asset cycle. | Plan into CapEx and schedule within the stated window. |
| Monitor / Acceptable | No action required at this stage; revisit at next review or renovation. | Keep on watchlist; avoid unnecessary spend now. |

Total estimated CapEx provision (0–5 years)

AUD {{CAPEX_RANGE}} (budgetary provision recommended).

{{CAPEX_NOTE}}

3. What this means for you

What requires action now

{{ACTION_NOW_SUMMARY}}

What should be planned (to avoid future disruption)

{{PLANNED_WORK_SUMMARY}}

What can wait (monitor)

{{MONITOR_ITEMS_SUMMARY}}

Decision confidence statement

{{DECISION_CONFIDENCE_STATEMENT}}

4. Scope and independence statement

Scope of Assessment

This assessment is a non-invasive, point-in-time review limited strictly to accessible electrical components and areas at the time of inspection.

The scope includes:

Visual assessment of accessible electrical installations

Functional verification using standard electrical test instruments

Review of visible compliance and safety indicators

The scope excludes:

Destructive or invasive testing

Concealed wiring, structural cavities, or non-accessible areas

Non-electrical systems or building elements

This report reflects conditions observed on the day of assessment only.

Independence & Conflict of Interest Declaration

This assessment is conducted on a 100% independent basis.

No repair, upgrade, or rectification services are offered or performed

No financial interest exists in any recommended works

All findings and budgetary provisions are provided solely for decision-support purposes

This independence ensures that:

Risk ratings are not influenced by potential repair revenue

Budgetary estimates are provided to support planning, not sales

The report may be relied upon as neutral technical advice when engaging third-party contractors or advisors

5. Methodology overview

This assessment follows a structured risk-identification methodology, designed to support informed decision-making rather than fault-finding.

The methodology is based on:

Visual inspection of accessible electrical assets

Limited electrical testing appropriate to a non-invasive review

Professional judgment informed by industry standards and field experience

Findings are evaluated using a risk-based framework, considering:

Safety exposure

Compliance and liability implications

Likely progression over time

Indicative financial impact for asset planning

This approach prioritises decision clarity and financial foresight, rather than exhaustive technical diagnostics.

6. Observations and evidence

The pages in this section are generated dynamically based on on-site observations, photos, and test results.

{{DYNAMIC_FINDING_PAGES}}

7. Risk prioritisation framework

This assessment applies a structured risk prioritisation framework specifically designed for residential investment properties.

The objective of this framework is not to identify every technical deviation, but to help property owners clearly distinguish between:

issues that require immediate attention to manage safety or legal exposure, and

conditions that can be monitored or planned for over time without urgent intervention.

7.1 Decision Principles

Findings are prioritised using the following decision order:

- Safety & Legal Exposure (Highest Priority)

- Conditions that present an immediate or elevated risk to occupant safety, or that may expose the property owner or managing agent to regulatory, insurance, or duty-of-care liability.

- Reliability & Escalation Risk

- Conditions that are currently stable but exhibit characteristics associated with age-related degradation, legacy design standards, or increased likelihood of failure under normal use.

- Budget Planning & Asset Management

Conditions that do not pose a safety concern, but may be relevant for long-term maintenance planning, future upgrades, or capital forecasting.

This hierarchy ensures that decisions are driven by risk clarity rather than technical complexity or reactive maintenance pressure.

7.2 Assessment Inputs

Risk prioritisation is informed by a combination of:

- on-site observations and measured data,

- functional testing results at accessible points,

- evidence of thermal, insulation, or mechanical stress,

- presence of legacy components and protection arrangements,

- escalation indicators based on typical residential usage patterns.

No single observation is assessed in isolation; findings are evaluated in context.

7.3 Priority Classification

Based on the above framework, findings are classified into one of the following categories:

- Immediate Action Required

- Conditions that present an unacceptable safety or liability risk and should be addressed without delay.

- Monitoring / Planned Action

- Conditions that are currently acceptable but warrant monitoring or consideration during future electrical works or renovations.

- Acceptable / No Action Required

- Conditions that are consistent with safe operation under current use and do not require intervention at this time.

Importantly, the presence of findings in the latter two categories does not imply non-compliance or unsafe occupation.

7.4 Independence & Scope Boundary

This prioritisation framework is applied independently of any repair or upgrade proposal.

No cost estimates, quotations, or sales recommendations influence the classification of findings.

The framework is designed to support informed decision-making, not to mandate expenditure.

8. Five-year CapEx roadmap (budget plan)

Indicative market benchmarks only. These estimates are for budget provisioning and do not constitute a binding quote.

| Asset item | Current condition | Priority | Suggested timeline | Budgetary range (AUD) |
| --- | --- | --- | --- | --- |
| {{CAPEX_ITEM_1}} | {{CAPEX_CONDITION_1}} | {{CAPEX_PRIORITY_1}} | {{CAPEX_TIMELINE_1}} | {{CAPEX_BUDGET_1}} |
| {{CAPEX_ITEM_2}} | {{CAPEX_CONDITION_2}} | {{CAPEX_PRIORITY_2}} | {{CAPEX_TIMELINE_2}} | {{CAPEX_BUDGET_2}} |
| {{CAPEX_ITEM_3}} | {{CAPEX_CONDITION_3}} | {{CAPEX_PRIORITY_3}} | {{CAPEX_TIMELINE_3}} | {{CAPEX_BUDGET_3}} |
| {{CAPEX_ITEM_4}} | {{CAPEX_CONDITION_4}} | {{CAPEX_PRIORITY_4}} | {{CAPEX_TIMELINE_4}} | {{CAPEX_BUDGET_4}} |
| {{CAPEX_ITEM_5}} | {{CAPEX_CONDITION_5}} | {{CAPEX_PRIORITY_5}} | {{CAPEX_TIMELINE_5}} | {{CAPEX_BUDGET_5}} |

9. Owner decision pathways

Option A — Monitor only

Take no action now. Reassess in 12 months or at the next tenancy turnover.

Option B — Planned upgrades

Budget and schedule the planned items within the suggested windows to reduce reactive maintenance.

Option C — Independent rectification

Use this report to brief any contractor of your choice. Request itemised scope aligned to priorities.

Option D — Management plan integration

Delegate coordination, quotation review, and completion verification to a management plan (Standard or Premium).

10. Terms, limitations and legal framework

{{LEGAL_DISCLAIMER_TEXT}}

11. Appendix (photos and test notes)

{{APPENDIX_CONTENT}}

12. Closing Statement

This report has been prepared to reduce uncertainty, not to prompt immediate action.

Its purpose is to provide a clear, independent understanding of your property’s electrical condition, allowing future decisions to be made with confidence rather than assumption.

Electrical issues often become costly not because they were severe, but because they were misunderstood, deferred without context, or addressed reactively.

By documenting current conditions, prioritising risks, and outlining a forward-looking capital outlook, this assessment enables you to plan deliberately, budget responsibly, and engage third parties from a position of knowledge.

This report is intended to remain relevant beyond today.

It may be referenced when planning upgrades, reviewing insurance considerations, preparing for tenancy changes, or reassessing asset strategy over time.

No immediate action is required unless specifically identified as an urgent liability risk.

The value of this assessment lies in clarity, foresight, and informed choice.