Electrical Property Health Assessment

Independent electrical condition & risk review

for residential investment properties

Property Type: {{PROPERTY_TYPE}}

Assessment Purpose: Risk clarity & decision support

Prepared For: {{PREPARED_FOR}}

Prepared By: Better Home Technology Pty Ltd

Assessment Date: {{ASSESSMENT_DATE}}

Table of Contents

- Appendix – Test Results Summary

- Capital Planning & Budget Considerations (0–5 Years)

- Executive Summary

- General Observations

- Immediate Attention Items

- Investor Options & Next Steps

- Items Not Requiring Action

- Legal Disclaimer & Liability Boundary

- Monitoring & Planned Action Items

- Overall Electrical Risk Rating

- Purpose & How to Use This Report

- Scope, Methodology & Independence

- Terms & Conditions

- Visual Evidence & Thermal Imaging (where applicable)

Purpose & How to Use This Report

Purpose of This Assessment

This assessment has been prepared to address a common challenge faced by property investors:

Making electrical decisions without clear visibility of actual risk.

Unlike routine inspections or reactive repairs, this report is designed to:

- Translate technical observations into investment-relevant risk insights

- Distinguish between immediate safety concerns, long-term degradation, and non-issues

- Support measured, non-reactive decisions aligned with property investment goals

- Reduce unnecessary expenditure driven by uncertainty or conflicting advice

This assessment does not assume that all electrical deviations require rectification.

Its primary role is to clarify what truly matters — and what does not.

How to Use This Report Effectively

Property owners are encouraged to:

- Focus first on the Executive Summary and Risk Rating

- Use detailed sections to understand context, not to self-diagnose

- Treat recommendations as planning inputs, not mandatory instructions

This report should be read in full and interpreted as a risk management and asset planning tool, rather than a compliance certificate or repair quotation.

Where works are undertaken, this report may also serve as documented due diligence for insurance reference, asset management records, or professional advisory discussions.

Scope, Limitations & Independence

Scope of Electrical Assessment

This assessment includes a structured review of the following electrical components:

- Main switchboard enclosure, layout, and protection devices

- Circuit configuration and load distribution (where observable)

- Presence and condition of RCD protection

- General condition of visible cabling and terminations

- Functional testing of selected outlets and lighting circuits

- Earthing continuity at accessible points

The inspection was conducted under normal operating conditions,

without inducing abnormal loads or disassembly of fixed equipment.

Limitations of Assessment

This assessment is limited to accessible and visible areas only.

The following were not inspected or tested:

- Concealed wiring within walls

- Inaccessible roof cavities

- Subfloor areas not safely reachable at time of inspection

These limitations are standard for non-invasive assessments

and do not indicate any known defect.

Independence Statement

This report is prepared independently of any repair or upgrade proposal.

Accordingly, no repair pricing or commercial quotations are included in this assessment.

Executive Summary

Overall Electrical Status

{{OVERALL_STATUS}}

{{EXECUTIVE_SUMMARY}}

Priority Overview (Decision-Focused)

| Priority | Description | Investor Interpretation |
| --- | --- | --- |
| 🔴 Immediate | No immediate safety hazards | No urgent spend required |
| 🟠 Monitor | Ageing components, legacy protection | Budget & plan, no pressure |
| 🟢 Acceptable | Functional circuits & outlets | No action, no concern |

This assessment is subject to the Terms & Conditions outlined in this report.

Overall Electrical Risk Rating

Electrical Risk Classification Framework

This assessment uses a three-tier risk classification framework

designed specifically for investment decision-making, not fault-finding.

| Risk Level | Definition |
| --- | --- |
| 🟢 Low | Condition consistent with safe operation; no action recommended |
| 🟡 Moderate | Acceptable condition with identifiable ageing or legacy factors |
| 🔴 High | Condition presents elevated safety or failure risk |

Current Property Risk Rating:     {{RISK_RATING}}

This rating reflects:

{{RISK_RATING_FACTORS}}

Immediate Attention Items

🔴 Immediate Safety Risks

{{IMMEDIATE_FINDINGS}}

Specifically, the assessment found:

{{URGENT_NOT_FINDINGS}}

The absence of immediate risks does not preclude future degradation and should be reviewed periodically as part of responsible asset management.

Monitoring & Planned Action Items

🟠 Items Requiring Monitoring or Planned Attention

{{RECOMMENDED_FINDINGS}}

Planning Guidance:

Review condition within 12–24 months,

or earlier if load demand increases (e.g. air conditioning upgrades).

2. Lighting Circuits – Absence of RCD Protection

- Acceptable under current usage patterns

- No immediate safety concern identified

Planning Guidance:

Consider inclusion of RCD protection

during future renovation or electrical upgrades.

Items Not Requiring Action

🟢 Items Not Requiring Action at This Time

The following components were assessed and found to be operating within acceptable parameters:

{{PLAN_MONITOR_FINDINGS}}

No action is recommended for the above items

based on current observations.

General Observations & Context

Installation Context

- Electrical installation appears consistent with the construction and renovation era of the property

- Partial upgrades suggest staged improvements over time

- No evidence of unsafe owner-performed modifications observed

Operational Context

- Electrical demand appears aligned with current occupancy profile

- No abnormal load behaviour noted during inspection

These contextual observations support the overall risk rating

and planning recommendations provided.

Capital Planning & Budget Considerations (0–5 Years)

The following table provides indicative market benchmarks to support budgeting and financial planning:

| Asset Item | Condition | Priority | Planning Horizon | Budgetary Estimate |
| --- | --- | --- | --- | --- |
| Main Switchboard | Aged configuration | Medium | 12–24 months | $1,800 – $2,500 |
| Smoke Alarms | Functional, ageing | Low | 24 months | $350 – $450 |
| Selected Circuits | No RCD protection | Low | Next renovation | $600 – $900 |

- No immediate rectification required

- Monitor identified ageing components

- Reassess electrical condition periodically

Important:

These figures are indicative budgetary estimates only and do not constitute quotations or fixed pricing.

They are provided to assist financial planning, not to prescribe scope or contractor selection.

Next Steps & Investor Options

The Client may consider the following options:

- Retain this report for reference and take no action at this time

- Engage a licensed electrical contractor of choice for works, if desired

- Integrate findings into future renovation or asset planning

- Delegate coordination, quotation review, and audit oversight to a third-party adviso

All decisions remain entirely at the Client’s discretion.

Appendix – Test Data & Technical Notes

Summary of Sample Test Results

{{TEST_RESULTS_SUMMARY}}

Technical Note

{{TECHNICAL_NOTES}}

Terms & Conditions of Assessment

This Electrical Property Health Assessment is provided subject to the following terms and conditions:

- Australian Consumer Law (ACL) Acknowledgement

- Our services come with guarantees that cannot be excluded under the Australian Consumer Law.

- Nothing in this Report or these Terms purports to modify, exclude, or limit any statutory consumer guarantees where such exclusion is prohibited by law.

- Scope of Professional Opinion

- This Assessment is a point-in-time, non-destructive, visual and functional review of accessible electrical components only.It is non-intrusive and non-exhaustive in nature and does not constitute a structural audit, engineering certification, or compliance inspection.No guarantee is provided that all defects, latent risks, or future failures have been identified.

- Exclusive Reliance & Confidentiality

- This Report has been prepared solely for the use of the Client named on Page 1 for the purpose of informed asset and risk management.

- No third party (including but not limited to purchasers, insurers, or financiers) is entitled to rely on this Report without the express written consent of Better Home Technology Pty Ltd.

- This Report may not be assigned, transferred, or relied upon by any other party.

- Limitation of Liability & Exclusion of Consequential Loss

- To the maximum extent permitted by law, Better Home Technology Pty Ltd excludes all liability for any indirect or consequential loss arising from the use of this Report, including but not limited to loss of rental income, business interruption, data loss, or claims arising from property downtime or alleged diminution of asset value.

- Hazardous Materials (Including Asbestos)

- Our technicians are not licensed asbestos assessors and no testing for hazardous materials has been undertaken.

- Where materials suspected to contain asbestos are observed, they are treated as such and no intrusive inspection is performed.

- Statutory Compliance Disclaimer

- This Report is a risk management and decision-support tool only.

- It does not constitute any state-based mandatory electrical compliance certification, rental safety inspection, or statutory approval unless expressly stated otherwise in writing.

Disclaimer & Liability Boundary

This assessment reflects the electrical condition

observed at the time of inspection only.

No guarantee is provided regarding future performance

or concealed conditions beyond accessible areas.

This report does not replace statutory compliance inspections

or certification requirements.